## Slide 1
PATIENT MONITORING IN AMBULANCE AND OTHER VEHICLES
GROUP - 31

## Slide 2
No system currently monitors patients' real-time health during hospital transport.
    Lack of real-time data sharing leads to delays in preparing hospital facilities
    Manual reporting by paramedics can introduce errors and delays.
    Existing systems are mostly restricted to ambulances.
These issues cause delayed treatment, higher hospital load, and even loss of life.
Actual Problem

## Slide 3
Real-time Health Monitoring:
continuously measure heart rate, oxygen saturation, temperature, and GPS location.
Cloud-Based Data Transmission:
Secure transmission of patient health data to hospital systems via cloud infrastructure.
Multi-Vehicle Compatibility:
Designed for ambulances, police vehicles, rescue teams, and other emergency transport modes.
User-Friendly Interface:
Interactive dashboard for monitoring via desktop application.
Proposed Solution

## Slide 4
Solution Architecture
www.reallygreatsite.com

## Slide 5
TECHNOLOGY STACK
Services
A hardware device developed with ESP-IDF and C programming.
Web application created using Html , CSS and Javascript.
MQTT protocol to communicate with the thing in IoT core and in there these messages are handled by MQTT message broker
01
02
03
04

## Slide 6
  MQTT
    MQTT is a lightweight, publish-subscribe messaging protocol, ideal for low-bandwidth and real-time communication.
  I2C
    It is a synchronous, multi-master, multi-slave serial communication protocol that uses two lines (SDA and SCL) to exchange data.
  UART
    UART is a serial communication protocol, enables asynchronous data exchange between devices using just two wires.
Used Protocols

## Slide 7
Hardware
ESP32
ds18b20 temperature sensor
Max30102 sensor
Neo6m Gps Module

## Slide 8
Circuit Diagram
www.reallygreatsite.com

## Slide 9
Sensor Integration & Accuracy
  Calibrating sensors (temperature, heart rate, SpO₂) for reliable real-time readings.
Real-Time Data Transmission
  Ensuring stable communication for continuous data flow.
Power Management
  Optimizing power usage to support long-term monitoring in mobile environments.
Challenges

## Slide 10
Team – GROUP 31
K.Vashiharan
2021/E/074
T.Sarujan 2021/E/164
V.Vithushikan
2021/E/169
R.Nidhushan
2021/E/189

## Slide 11
Thank
You